|  |
| --- |
|   Date: 30-04-2024 |
|  |

 BYLC/PR/Admin/CSF/2404-14

 Date: 25/04/2024

 **Subject:** RFQ for Air Conditioner.

Sealed Quotations are hereby invited from suppliers of the following item under the Terms and Conditions mentioned below on your Letter Head Pad.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Lot No.** | **Item Name** | **Specification** | **MoU** | **Quantity** | **Total Price (BDT)** |
|  |
| Lot-1 | Air Conditioner |  2-ton AC with installation cost* Compressor: 3 Years Warranty
* Type – Split
* Spare Parts: 1 Year
* Free Service: 1 Year
* Thermostat type: Remote control.
* Inverter
 | Pcs | 01 |  |
| Lot-2 | Air Conditioner |  4-ton AC with installation cost* Cassette Type Air Conditioner.
* 4 Ton Capacity (48000 BTU).
* 3 Indoor Unit Fan Speeds.
* 4 Star Bureau of Energy Efficiency (BEE).
* Single-Stage Scroll Compressor.
* Motorized louver allows fixed or oscillating motion.
* Noise Level Indoor: 46 DB.
* Three (3) Years Compressor, 1 Year Parts and service warranty.
* Inverter
 | pcs | 01 |  |
| **Grand Total (up to delivery place)** |  |

\*Note: For detailed specification additional papers may be affixed

**Terms & Conditions:**

**Quotations to be submitted on the date:** 02-05-2024 **& Time: 03:00 PM**

 Quotations to be submitted through mail (etender@bylc.org) or submit sealed quotation at Medona Tower

 (Level 12), 28 Mohakhali C/A Dhaka 1212, BYLC.

1. **Warranty:**  Three (3) Years Compressor, 1 Year Parts and service warranty.

# Inspection:

Inspection will be carried out by concerned technical person before receiving the goods which will be ensured

by the respective program of BYLC (If required).

1. **Sample:** N/A
	1. Successful bidder may require to make approved sample from concern program before delivery. In case of sample submission, sample(s) must be returned within 7 working days from email notification. Otherwise, sample(s) will be disposed. /
	2. Sample(s) of the item(s) must be submitted on/before the submission deadline to the respective procurement staff on week days from 9.00 AM to 3.00 PM.
2. **Offer Validity:** 30 days from the date of submission.
3. **Evaluation:** Evaluation will be done on the basis of total package.
4. **Payment:** Payment will be transferred to your company bank account directly within 14 days after satisfactory delivery and a notation on the delivery challan by the recipient (with name, designation & date). The supplier must mention his A/C Name, Account No., Bank Name, Branch Name and e-mail address in the Invoice / Bill through a seal. The supplier must provide Mushok 6.3 along with bill as per govt. rules.
5. Partial Payment against partial delivery is allowed.
6. **Alternative Offer:** Alternative offer will not be accepted.
7. Only one organization can participate in the bidding process under same proprietorship or family. If found more than one organization under above condition both the organizations will be termed as non-responsive
8. During the participation in any tendering/enlistment process, if any vendor provides fake document, they

 will be banned from business with BYLC for certain years as per BYLC Policy.

**Other Terms & Conditions**

1. BYLC reserves the right to accept or reject any or all quotations/tenders without assigning any reason whatsoever.
2. For any further clarification any bidder may contact 01520101502, or email to mehedi.hasan@bylc.org

**Award Notification:**

Only the successful bidder will be notified.

Thanking You

 For BYLC



Mehedi Hasan Rana

Deputy Manager, SCM